Functional Traffic Layout: Engineering Drawing Checklist

Privacy Statement: The information collected on this form will be used by Brisbane City Council – Development Assessment for the purpose of ensuring all key design criteria is provided as part of Operational Works & Compliance Assessment application submissions.

It is the responsibility of the consultant to ensure all information is provided in accordance with Brisbane City Council’s Codes and Policies to accommodate a streamlined approval process.

| Site Address: |  |
| --- | --- |
| High Level Application #: |  |
| Condition Reference #: |  |

| Description | Completed |  | Comments To be completed for all non-standard designs |
| --- | --- | --- | --- |
|  | YES | NO |  |
| Preliminary Requirements Refer to Section 1.5 > Chapter 1 Introduction > Infrastructure Design(ID) PSP > Schedule 6 PSP NB: Drafting must be of a standard that is acceptable for construction in civil engineering & architectural practice, in accordance with the requirements of AS 1100.101-1992 Technical drawing – General principles. |  |  |  |
| Have plans been signed & checked by RPEQ together with RPEQ number and date shown on title block? |  |  |  |
| Plans assessed against all town planning conditional requirements & approved plans: - ROL/MCU conditions - Any road dedications / corner truncations |  |  |  |
| Leading Drawing must contain: - Council reference number; - Site Address (consistent with application); - Locality plan (showing stage boundaries if applicable); - Drawing index; - List of all Council standard drawings used; - List of all consultant standard drawings used (copies to be attached); - Full Legend; - Existing & Proposed Contours |  |  |  |
| Scales: Recommended Scales are 1:1, 1:2, 1:5 (multiplied by integral powers of 10) - Plans – 1:1000 or 1:500 (roof-water reticulation layout plans should be drawn in the 1:500 scale); - longitudinal sections – (i) horizontal 1:1000 and vertical 1:100; or (ii) horizontal 1:500 and vertical 1:50. - Intersection details – 1:200, 1:100 or 1:250; - cross-sections – 1:100; - Engineering details – 1:20 or 1:10. - A north point and legend is to be shown on all drawings. |  |  |  |
| Dimensions: - All dimensions in metric units. - Linear dimensions in metres. - Excl. detailed drawings (maintenance holes/ kerb & channel) – millimetres. - Reduced levels of roadworks & stormwater drainage expressed & rounded to 3 decimal places (0.001m) - Chainages to 3 decimal places (0.001m) - Road cross-sections provided at 20m intervals (further subdivision of 10m to 5m where necessary at horizontal or vertical clearances). - Road & Pipe grades must be show to 3 significant figures (e.g. 2.635%). |  |  |  |

| Functional Layout Plan |  |  |  |
| --- | --- | --- | --- |
| Entire plan of intersection required showing all existing legs if proposed works are at or near an intersection. |  |  |  |
| Plan drawn to scale showing all relevant existing details including: - Existing intersections & vehicular entrances in the vicinity - Existing road layout including existing and proposed crown of road. - Existing services which have an impact on the road layout - Existing pavement markings and Traffic Signs - Existing trees. |  |  |  |
| Proposed roadworks / channelization layout, drawn to scale including: - Critical dimensions (kerb alignments, radii, K& C types) - Proposed pavement markings, including lane markings with lane widths - Relationship of work with other stages - Proposed relocation of services in accordance with BCC standards - Limit of BCC responsibility where other authorities are involved. Eg. DMR - All allotment & property boundaries. - Existing and proposed footpaths |  |  |  |
| Standards & HL Compliance: - Proposed works in accordance with High Level approved preliminary functional plans including manoeuvring and road widening/dedications (if applicable) - Longitudinal section provided (if required) - Road & verge widths comply with standard road reserve (refer to Ch.3 > IDPSP) |  |  |  |
| Traffic Signs & Pavement Markings |  |  |  |
| Designs conform with AS 1742 the Manual of Uniform Control Devices & relevant BCC drawing |  |  |  |
| Existing & Proposed details: - Real property boundaries & kerb lines - Driveways - Existing & Proposed pavements markings - Thin dashed line used for existing markings proposed to be removed. - Signs such as parking signs & street name signs. - Power poles & service pits - Traffic Signals - Traffic signs are shown using the standard sign code (ERECT R2-14(L)) and not shown as pictorial signs. |  |  |  |